## Minimum and Maximum Pressure
Particle Size (PS) | Minimum Pressure | Maximum Pressure
1.8 um | 830 | 12000 | C18 Raptor information
1.9 um | 830 | 12000
2.7 um | 600 | 8700
3 um | 600 | 8700
5 um | 400 | 5800
C18 Force Information

## HPLC Column Data (hidden)
Column 1 |  | Column 2
1 | Pinaccle DB C18 1.9um
2 | Pinaccle DB C18 3um |  |  | 2b |  | 11
3 | Pinaccle DB C18 5um |  | 1a | 2c | 8ub | 12 | [5 empty] | NAME rules
4 | Pinaccle DB C18 5um |  | 1b | 2d | 9u | 13 | [5 empty] | Different columns: different numbers (e.g."1")
5 | Pinaccle DB C18 5um |  | 2a | 2e | 10ua | 14 | 18 |  |  |  |  | Same columns: same numbers with a letter at the end (e.g."1a")
6 | Pinaccle DB C18 5 um |  | 3a | 2f | 10ub | 15 | 19 |  | 24 |  |  | Columns for UPLC: numbers+"u"+letter (if possible) (e.g."3u", "3ua")
7 | Pinaccle DB C18 5um |  | 4 | 3b | 34 | 16 | 20 |  | 25 | 36
8 | Pinaccle DB C18 5 um |  | 5 | 6 | 35 | 17u | 21 | 32 | 26 | 41
|  |  | 7 | 40 | 39 | 31 | 22 | 33u | 27 | 42
|  |  | 8ua | 44 | 43 | 37 | 23u | 38 | 28 | 45
Force C18 1.9um
[11 empty] | Ultra AQ C18 5um | [8 empty] | Force C18 3um
|  |  | Pinnacle DB C18 1.9um |  |  | Pinnacle DB PFPP 5um |  |  |  |  | Ultra BiPh 5um |  |  | Raptor C18 1.8 |  |  | Raptor Biphenyl 5um |  |  | Force C18 5um
|  |  | Pinnacle DB C18 3um |  |  | Pinnacle DB BiPh 5um |  |  | Ultra C18 3um |  | Ultra IBD 5um |  |  | Raptor C18 2.7um |  |  | Raptor Flourophenyl 2.7um |  |  | Force Biphenyl 5um
|  |  | Pinnacle DB C18 5 um |  |  | Pinnacle DB AQ |  |  | Ultra C18 5um |  | Ultra PFPP 5um |  |  | Raptor C18 5um |  |  | Raptor Flourophenyl 5um |  |  | Force Flourophenyl 5um
|  |  |  | serial # |  |  | Serial
|  |  | 1a | 14010923T |  | 2b | 17091906J |  | 6 | 16030910M |  | 11 | 18021555J
|  |  | 1b | 13021449T |  | 2c |  |  | 8ub | 16061446T |  | 12 | 18021543J
|  |  | 2a | 11040446T |  | 2d | 19020836 |  | 9u | 18021544J |  | 13 | 1
|  |  | 3a | 11061037R |  | 2e | 19050678 |  | 10ua |  |  | 14 | 7 |  | 18 | 18050798Q
|  |  | 3b | 12080895C |  | 2f | 1303138T |  | 10ub | 12110543M |  | 15 | 16040074S |  | 19 | 19051989 |  |  |  |  | 24 | 16030919M
|  |  | 4 | 11061042R |  | 2g | 13031274T |  | 34 | 13071105M |  | 16 | 16041471S |  | 20 | 18051411S |  |  |  |  | 25 | 12101859R | 36
|  |  | 5 | 11061050R |  | 2h | 13050629J |  | 35 | 12071065C |  | 17u | 18051419S |  | 21u | 18021548J |  | 32 | 16010683 |  | 26 | 15011206J | 41
|  |  | 7 | 11061053T |  | 40 | 11061046M |  | 39 | 13031076M |  | 31 | 4 |  | 22 | 200420P |  | 33u | 18021547J |  | 27 | 15011206J | 42 | 13061230T
|  |  | 8ua | 11050668M |  | 44 | 11061047R |  | 43 | 13071097M |  | 37 | 19051311 |  | 23u | 17090993 |  | 38 | 16110781J |  | 28 | 15011211J | 45
[6 empty] | 2i | 13031347T |  | 47a | 19011382
[9 empty] | 47b | 13071198M
https://separationmethods.com/usp-l-column-listing/

## BIP
|  |  | Name | Length | Diameter | Particle size | Code | Serial numbers
SUM of columns | 5 | BIP | Force | 150 | 4.6 | 5 | 37 | 19051311
Pinnacle DB | 2 |  | Raptor | 150 | 4.6 | 5 | 38 | 16110781J
Force | 1 |  | Pinnacle DB | 150 | 4.6 | 5 | 39 | 13031076M | MA | 37
Raptor | 1 |  | Pinnacle DB | 100 | 4.6 | 5 | 40 | 11061046M |  | 38
Ultra | 1 |  | Ultra | 150 | 4.6 | 5 | 41 | 13060660A |  | 41

## C18
|  |  |  | Name | Length | Diameter | Particle size | Serial numbers |  | ref # | Code | Code
| SUM of columns | 42 | C18 | Force | 150 | 3 | 5 | 1 |  |  | 17u | 17u
| Pinnacle DB | 16 |  | Force | 150 | 3 | 3 | 7 |  |  | 15 | 15
| Force | 7 |  | Force | 100 | 4.6 | 5 | 16040074S |  |  | 16 | 16
| Raptor | 6 |  | Force | 100 | 4.6 | 3 | 16041471S |  |  | 13 | 13
| Ultra | 7 |  | Force | 150 | 4.6 | 3 | 18021543J |  |  | 14 | 14
| Roc | 0 |  | Force | 150 | 4.6 | 5 | 18021555J |  |  | 12 | 12
| Pinnacle DB NEW | 6 |  | Force | 30 | 2.1 | 1.8 | 18051419S |  |  | 11 | 11
|  |  |  | Pinnacle DB | 50 | 2.1 | 1.9 | 10 |  |  | 10ua | 10ua
|  |  |  | Pinnacle DB | 30 | 2.1 | 1.9 | 12121206 |  |  | 10uc | 10uc
|  |  |  | Pinnacle DB | 100 | 2.1 | 1.9 | 19010916 | 13 |  | 10ub | 10ub
|  |  |  | Pinnacle DB | 100 | 2.1 | 1.9 | 11050668M |  |  | 9u | 9u
|  |  |  | Pinnacle DB | 100 | 4.6 | 5 | 11061037R
|  |  |  | Pinnacle DB | 100 | 4.6 | 3 | 11061042R |  |  | 8ua | 8ua
|  |  |  | Pinnacle DB | 100 | 3.2 | 5 | 11061050R
|  |  |  | Pinnacle DB | 100 | 2.1 | 3 | 11061053T
|  |  |  | Pinnacle DB | 100 | 4.6 | 5 | 12080895C |  |  | 3a | 3a
|  |  |  | Pinnacle DB | 30 | 2.1 | 1.9 | 12110195T |  |  | 5 | 5
|  |  |  | Pinnacle DB | 30 | 2.1 | 1.9 | 12110543M |  |  | 5 | 5
|  |  |  | Pinnacle DB | 250 | 4.6 | 5 | 13021449T |  |  | 7 | 7
|  |  |  | Pinnacle DB | 250 | 4.6 | 5 | 14010923T
|  |  |  | Pinnacle DB | 100 | 3.2 | 3 | 16030910M |  |  | 6 | 6
|  |  |  | Pinnacle DB | 100 | 2.1 | 1.9 | 16061446T | 12 |  | 8ub | 8ub
|  |  |  | Pinnacle DB | 50 | 2.1 | 1.9 | 18021544J | 11 |  | 1a | 1a
|  |  |  | Pinnacle DB NEW | 150 | 4.6 | 5 | 19011382 | 9 |  | 1b | 1b
|  |  |  | Pinnacle DB NEW | 150 | 4.6 | 5 | 19020790 | 10 |  | 2c | 2c
|  |  |  | Pinnacle DB NEW | 150 | 4.6 | 5 | 19020835 | 13 |  | 2d | 2d
|  |  |  | Pinnacle DB NEW | 150 | 4.6 | 5 | 19020836 | 11 |  | 2e | 2e
|  |  |  | Pinnacle DB NEW | 150 | 4.6 | 5 | 19050678 | 7 |  | 2b | 2b | --> Column is C8, not C18 (Has two inputs)
|  |  |  | Pinnacle DB NEW | 150 | 4.6 | 5 | 17091905J
|  |  |  | Pinnacle DB OLD | 150 | 4.6 | 5 | 11040446T | broken
|  |  |  | Pinnacle DB OLD | 150 | 4.6 | 5 | 13031274T | 2 | 11061037R | 2a | 2a
|  |  |  | Pinnacle DB OLD | 150 | 4.6 | 5 | 13031347T |  | 18021555J | 2g | 2g | SEPARATE COMPOUNDS AT 40%ACN
|  |  |  | Pinnacle DB OLD | 150 | 4.6 | 5 | 13031348T |  |  | 2i | 2i
|  |  |  | Pinnacle DB OLD | 150 | 4.6 | 5 | 13050629J |  |  | 2f | 2f
|  |  |  | Pursuit 100A | 150 | 4.6 | 5 | 716166 |  |  | 2h | 2h
|  |  |  | Pursuit 100A | 150 | 4.6 | 3 | 716637 |  |  | 23u | 23u
|  |  |  | Raptor | 50 | 4.6 | 5 | 7 |  |  | 22 | 22 | 1
|  |  |  | Raptor | 30 | 2.1 | 1.8 | 17090993 |  |  | 21u | 21u
|  |  |  | Raptor | 150 | 4.6 | 2.7 | 19051989 |  |  | 20 | 20
|  |  |  | Raptor | 100 | 4.6 | 2.7 | 18021548J |  |  | 19 | 19
|  |  |  | Raptor | 150 | 4.6 | 5 | 18050798Q |  |  | 29 | 29
|  |  |  | Raptor | 100 | 4.6 | 5 | 18051411S |  |  | 28 | 28
|  |  |  | Ultra | 100 | 3 | 5 | 4 |  |  | 25 | 25
|  |  |  | Ultra | 100 | 3 | 3 | 17 |  |  | 26 | 26
|  |  |  | Ultra | 100 | 4.6 | 5 | 33 |  |  | 27 | 27
|  |  |  | Ultra | 100 | 4.6 | 3 | 19052156 |  |  | 24 | 24
|  |  |  | Ultra | 150 | 4.6 | 3 | 12101859R | [5 empty] | Ultra with less BP
|  |  |  | Ultra | 150 | 3.2 | 5 | 15011206J | [5 empty] | Ultra with less BP
|  |  |  | Ultra | 150 | 3.2 | 3 | 15011210J | [5 empty] | Ultra with less BP
|  |  |  | Ultra | 100 | 3.2 | 3 | 15011211J |  | 9174515
|  |  |  | Ultra | 150 | 4.6 | 5 | 16030919M | [5 empty] | C18 150x4.6x5 and x3 study
|  |  |  | Pursuit XR 200A | 150 | 4.6 | 5 | 718534
|  |  | Phenomenex | C18 Luna | 150 | 4.6 | 5 | H22- 392499 | [5 empty] | C18 150x4.6x5 and x3 study with Aspen column
phenomenex
C18 150x4.6x5 and x3 study

## C8
|  |  | Name | Length | Diameter | Particle size | Code | Serial numbers
SUM of columns | 3 | C8 | Pinnacle DB | 150 | 4.6 | 5 | 47a | 19011382 | <-- Found | MA
Pinnacle DB | 3 |  | Pinnacle DB | 150 | 4.6 | 5 | 47b | 13071198M
|  |  | Pinnacle DB | 150 | 4.6 | 5 |  | 19011390
|  |  | Ultra | 150 | 4.6 | 5 |  | 18121382
|  |  | Pursuit 3 200A | 150 | 4.6 | 3 |  | 612249 | <--
|  |  | Pursuit XR 200A | 250 | 4.6 | 5 | longer column | 625477
|  |  | Pursuit | 150 | 4.6 | 5 |  | 719541

## C18aq
|  |  | Name | Length | Diameter | Particle size | Code | Serial numbers
SUM of columns | 4 | C18Aq
Pinnacle DB | 2 |  | Pinnacle DB | 150 | 4.6 | 5 | 43 | 13071097M | 42
Ultra | 2 |  | Pinnacle DB | 100 | 4.6 | 5 | 44 | 11061047R
|  |  | Ultra | 150 | 4.6 | 3 |  | 19050420
|  |  | Ultra | 150 | 4.6 | 5 | 42 | 13061230T

## IBD
|  |  | Name | Length | Diameter | Particle size | Code | Serial numbers
SUM of columns | 3 | IBD | Ultra | 150 | 4.6 | 5 | 45 | 13070883T
Ultra | 3 |  | Ultra | 150 | 4.6 | 3 |  | 39
|  |  | Ultra | 100 | 4.6 | 3 |  | 4
|  |  | Pinnacle DB | 100 | 2.1 | 1.9 |  | 7
|  |  | Pinnacle DB | 30 | 2.1 | 1.9 |  | 2

## PFPP
|  |  | Name | Length | Diameter | Particle size | Code | Serial numbers
SUM of columns | 11 | PFP | Force | 150 | 4.6 | 5 | 31 | 4
Pinnacle DB | 6 |  | Force | 100 | 4.6 | 5 | 31 | 16031520
Force | 2 |  | Pinnacle DB | 150 | 4.6 | 5 | 34 | 13071105M
Raptor | 2 |  | Pinnacle DB | 100 | 4.6 | 5 | 35 | 12071065C
Ultra | 1 |  | Pinnacle DB | 150 | 4.6 | 3 |  | 9 | 8
|  |  | Pinnacle DB | 100 | 4.6 | 3 |  | 1
|  |  | Pinnacle DB | 50 | 4.6 | 5 |  | 1
|  |  | Pinnacle DB | 50 | 4.6 | 3 |  | 1
|  |  | Raptor | 150 | 4.6 | 5 | 32 | 16010683
|  |  | Raptor | 100 | 4.6 | 2.7 | 33u | 18021547J
|  |  | Ultra | 150 | 4.6 | 5 | 36 | 13060494J | MA
[10 empty] | Pinnacle DB | 200 | 4.6 | 5 | 1
31
32
33u
36
[10 empty] | Pinnacle DB | 150 | 4.6 | 3
[10 empty] | Raptor | 100 | 4.6 | 5
[10 empty] | Ultra | 100 | 4.6 | 5
[10 empty] | Raptor | 50 | 2.1 | 1.9

## Other columns
| Name | Length | Diameter | Particle size | Code | Serial numbers
Alltech | C18 | 53 | 7 | 3 | 50605 | 4030790.1
Waters | C18 Bondapak | 300 | 3.9 | 10 | WAT 027324 | 2303700313856
Waters | C18 Spherisorb 5 ODSi | 250 | 4.6 | 5 | PSS830615 | 1253620610230
Altima | Phenyl | 250 | 4.6 | 5 | 88093 | 612090437
Alitma | C8 | 250 | 4.6 | 5 | 88077 | H53839
Phenomenex | C18 Nucleosil | 250 | 4 | 10 | 00G-0330-D0 | H15-145322
Phenomenex | C18 Luna | 150 | 4.6 | 3 | 00F-4251-E1 | 676065-4
Thermo Scientific | APS-2-HYPERSIL | 250 | 4.6 | 5 | 30705-254630 | 0971637M
Macherey-Nagel | C18 Nucleosil | 250 | 3 | 5 | 720041.3 | E12010022
Waters | Spherisorb NH2 | 250 | 4.6 | 5 | PSS831115 | 013633161126 02
Phenomenex | C8 Inertsil | 250 | 4.6 | 5 | 00G-3136-E0 | 553829-1
Phenomenex | C18 Luna | 150 | 4.6 | 3 | 00F-4251-E0 | 676065-2
Altima | C18 | 250 | 4.6 | 5 | 88056 | 606110890.1
Waters | C18 Spherisorb ODSi | 250 | 4.6 | 5 | PSS830615 | 01308074136 46
Waters | C18 Nova-Pak | 150 | 3.9 | 4 | WAT 086344 | W92991M 080
Phenomenex | C18 Kinetex Polar | 150 | 2.1 | 2.6 | 00F-4759-AN | H1- 308094
Waters | C8 Symmetry | 150 | 3.9 | 5 | WAT 046970 | 017936177136 20
Altima | CN | 150 | 4.6 | 5 | 88182 | 612110761
Waters | C18 Symmetry | 150 | 4.6 | 5 | WAT045905 | 024139288136 83
Phenomenex | F5 Kinetex | 100 | 2.1 | 1.7 | 00D-4722-AN | 754848-4
Waters | C18 Acquity BEH | 50 | 2.1 | 1.7 | 186002350 | 2923703325119
Waters | C18 Acquity BEH | 100 | 2.1 | 1.7 | 186002352 | 2843823815151

## Check List
Column 1 |  | Column 2
1 | Pinaccle DB C18 1.9um
2 | Pinaccle DB C18 3um
3 | Pinaccle DB C18 5um |  |  | 1a |  |  |  | NAME rules
4 | Pinaccle DB C18 5um |  |  | 1b |  |  |  | Different columns: different numbers (e.g."1")
5 | Pinaccle DB C18 5um |  |  | 2a |  |  |  | Same columns: same numbers with a letter at the end (e.g."1a")
6 | Pinaccle DB C18 5 um |  |  | 3a |  |  |  | Columns for UPLC: numbers+"u"+letter (if possible) (e.g."3u", "3ua")
7 | Pinaccle DB C18 5um |  |  | 4
8 | Pinaccle DB C18 5 um |  |  | 5
7
8ua
Force C18 1.9um
[7 empty] | Ultra AQ C18 5um |  |  |  | Force C18 3um
|  |  |  | Pinnacle DB C18 1.9um | Pinnacle DB PFPP 5um |  | Ultra BiPh 5um |  | Raptor C18 1.8 | Raptor Biphenyl 5um | Force C18 5um
|  |  |  | Pinnacle DB C18 3um | Pinnacle DB BiPh 5um | Ultra C18 3um | Ultra IBD 5um |  | Raptor C18 2.7um | Raptor Flourophenyl 2.7um | Force Biphenyl 5um
|  |  |  | Pinnacle DB C18 5 um | Pinnacle DB AQ | Ultra C18 5um | Ultra PFPP 5um |  | Raptor C18 5um | Raptor Flourophenyl 5um | Force Flourophenyl 5um
|  |  | 11 |  |  | 2b
|  |  | 12 |  |  | 2c
|  |  | 13 |  |  | 2d
|  |  | 14 |  |  | 2e
|  |  | 15 |  |  | 2f
|  |  | 16 |  |  | 2g
|  |  | 17u |  |  | 2h
|  |  | 24 |  |  | 2i
25
26
27
28
29
30
31
32
33u
36
37
38
41
42
45
46
47a